# Hands-on DNA: Bacterial Evolution – Sample Risk Assessment

Please note: centres should assess risks and produce their own risk assessment

| Activity | Hazard | Precaution | Risk |
| --- | --- | --- | --- |
| Micropipetting practice, restriction enzyme digest and gel loading | - Waste tips | - All tips disposed of in waste pots - Demonstrator to empty pots at end of session | Very low |
|  | - TBE Running Buffer: Irritant | - Used at low concentration - Spills wiped up immediately - Students to wash hands if spilled | Very low |
| Agarose gels | - Burns from molten agarose when pouring gels | - Students shown how to pour agarose safely - Students to use hand protectors to hold hot flask - Activity closely supervised | Low |
|  | - SYBR-Safe® DNA stain in agarose gel: Potentially harmful | - Technician to prepare agarose and handle concentrated stain solution - Tips and gloves disposed of in chemical waste - Students told to avoid touching gels - Students to wear gloves when removing combs from gels and removing gel trays from tanks for visualisation | Very low |
| Gel running | - Electrical hazard from gel tanks and power packs | - Demonstrator to check lids on gel tanks and leads plugged in correctly before turning on power and starting gels - Demonstrator to switch off and unplug power packs at end of gel run | Very low |
| Visualisation of DNA | - Blue light transilluminator: Risk of eye damage in individuals with macular degeneration | - All participants to wear orange safety glasses provided when viewing gels | Very low |